SITK® for LabVIEW

Standard and Advanced Features

Version 3.0.10.0

	
[image: image2.jpg]



	SITK®

 for LabVIEW™
	SITK® 

for LabVIEW™
	Notes

SITK® is for Roper Scientific Cameras (high end scientific cameras), both Photometrics and Princeton Instruments. (PentaMax before V4 is a special request),

Acton Spectrometers, NCL, and SpectraHub systems.  ST-138 and InSpectrum require Advanced edition.

LabVIEW™ Versions 6.1, 7.0, 7.1, 8.0, 8.2, 8.5 and 8.6 are supported

Operating Systems supported: Win 2000, WinXP (home and professional) and WinMe (if camera supports it).

1 Basic Calibration:

    - Manual calibration

    - Get Calibration at Pixel

- Get Pixel at Calibration

- Save Calibration with Data (TIF)

2 Advanced Calibration:

All Basic features plus

- Offset and Adjust corrections

- Dispersion correction

- Automatic adjustment of calibration

   when spectrometer is moved

- Step and Glue (stitching)

- Load Calibration from file (VSMS)

Contact Information

e-mail: Support@RcubedSw.com
Web Site: http://www.rcubedsw.com/

	
	Standard
	Advanced
	

	Basic camera operations
	X
	X
	

	ROI
	X
	X
	

	External Triggering
	X
	X
	

	Fast Frame
	X
	X
	

	ADC control
	X
	X
	

	PTG
	X
	X
	

	Multiple Cameras
	
	X
	

	Inline (Live) Operations
	X
	X
	

	Data Files 

(SPE, TIF, PMI, Generic)
	X
	X
	

	Acton VSMS
	
	X
	

	Custom Chip and Kinetics
	
	X
	

	Simple Image Display
	X
	X
	

	Advanced Image display
	
	X
	

	Advanced Graph Display (Fall 2008)
	
	X
	

	Spectrometer Single, doubles, and triples
	X
	X
	

	Single Point Detector (via SpectraHub and NCL)
	X
	X
	

	Filter wheel
	X
	X
	

	Multiple spectrometer
	X
	X
	

	Basic Calibration 1 (Summer ‘08)
	X
	X
	

	  Advanced Calibration 2 (Summer ‘08)
	
	X
	


SITK is a registered trademark and ARCTK is a trademark of R Cubed Software Consultants, LLC
LabVIEW is a trademark of National Instruments, Inc.
[image: image1]